## Introduction
|  |  | Template version | 0.4.3
|  |  | revision | 2023-06a
This spreadsheet is a template for creating and maintaining vocabularies for linked open data. With the help of the tools voc4cat & vocexcel linked below, the information in this spreadsheet can be converted into SKOS RDF files (e.g. in turtle format). The other direction is also possible: An empty template may be filled with the information from a compatible SKOS RDF data file. So SKOS data can be edited using a spreadsheet program as user interface. The column names in this template closely mirror the terms in the SKOS data model.
The spreadsheet is processed with voc4cat which extends vocexcel for the voc4cat-based repositories.
| voc4cat-tool | https://github.com/nfdi4cat/voc4cat-tool
| our fork of VocExcel | https://github.com/nfdi4cat/vocexcel
| examples of filled-out templates | https://github.com/nfdi4cat/voc4cat-tool/tree/main/example
| To read more on SKOS, please visit | https://www.w3.org/TR/skos-primer/
https://www.w3.org/TR/skos-reference/
SKOS RDF data produced or consumed by with voc4cat are validated against the VocPub profile using SHACL.
| VocPub profile for validating RDF | https://surroundaustralia.github.io/vocpub-profile/specification.html

## Help
Spreadsheet Guide
This spreadsheet is designed to create SKOS vocabularies. It provides a familiar user interface for defining the elements of a SKOS vocabulary like concept scheme, concepts and their relations, and concept collections. In the folowing the sheets and tables that are necessary for creating a vocabulary are described. Note: Mandatory sheets and cells are indicated by an asterisk (*)
If you need help, feel free to create issues on github for your questions.
| vocabulary-related | https://github.com/nfdi4cat/voc4cat/issues
| template-related | https://github.com/nfdi4cat/voc4cat-template/issues
Concept Scheme (mandatory) The Concept Scheme sheet collects the top level information about the vocabulary. Vocabulary IRI* = The IRI tat refers to this specific vocabulary. It must be a valid URI. For testing you can first use a fake value, as long as it's a valid URI, and replae it later (e.g. http://example.com/def/v1 ). Note: An IRI (International Resource Identifier) is like a URI (Uniform Reference Identifier) but with more permissible characters. Note: Instead of a full IRI you can use a CURIE (compact URI) defined with the prefix sheet, e.g. ex:v1 where "ex" stands for the namespace "http://example.com/def/". See below for more on te Prefix Sheet. Title* = A short one line title for the vocabulary. Description* = A general description for the vocabulary and its scope. This can be as long as needed and may contain all possible characters and line breaks. Created Date* = The vocabulary's creation date. Modified Date = The vocabulary's latest modification date. Note: Dates in these cells must be recognized as date by Excel but may be in localized format. Creator* = The ID of an organisation e.g. "GA". Publisher* = The ID of an organisation e.g. "CGI". Note: Either the abbreviation for an organisation or its full name can be given. The organisation is validated against a predefined list of organisations. If you miss an organisation, create an issue at https://github.com/nfdi4cat/vocexcel/issues and ask for addition. Version = A version specifier for this vocabulary, e.g. v2022-02-22 (it is suggested to use calendar-based vesioning) Provenance* = A note on the source of this vocabulary. Custodian = The person managing this vocabulary's content, e.g. "Sofia Garcia (orcid:0000-0001-2345-6789)" Catalogue PID = A catalogue PID or DOI, e.g. eCat ID, if the vocab has one.
Concepts (mandatory) A concept according to SKOS is a unit of thought, idea, meaning, or category of an object or event which underlies a knowledge organisation system. This sheet collects concept descriptions, (optionally) their translations to other languages, simple broader/ narrower relations between the concepts and provenance information. Concept IRI* = Must be a valid URI. Often this is based on the Vocabulary URI, e.g. if the vocab URI is https://example.com/voc4cat, the Concept IRI might be https://example.com/voc4cat/photo-catalyst. When Concepts are borrowed from other vocabularies, the IRI must be the IRI from the original vocabulary. Note, instead of IRIS you can use CURIEs defined with the Prefix Sheet, e.g. voc4cat:photo-catalyst (if "voc4cat" is define as prefx for the namespace "https://example.com/voc4cat/"). Please see below for more on the Prefix Sheet. Preferred Label* = A simple one-line label for the concept. Preferred Label Language Codes = Two or three letter language code according to ISO 639-2 or 639-3 for the Preferred Label (see https://iso639-3.sil.org/code_tables/639/data). If no language code is given, "en" is assumed as default. With voc4cat you may use indentation of the Prererred Label (xlsx-indentation or character-based indentation) to express parent-child (broader/narrower) relations between concepts. If you use indentation, the Children IRIs column (see below) is ignored. voc4cat allos to convert in both directions between indentation-based and Children-IRIs-based representation. Note on deprecated functionality (to be removed in next version): For terms that are the same in multiple languages, multiple language labels can be entered as comma-separated list e.g. "eng,fra" for the Canadian province Yukon which gives "Yukon"@eng & "Yukon"@fra in RDF. - See "Note on Translating" below for how to handle languages in a future proof way. Definition* = The defining description of the concept. Definition Language Code = ISO 639-2 or 639-3 two or three letter language code for the Definition (see https://iso639-3.sil.org/code_tables/639/data). If no language code is given, "en" is assumed as default. Note on translating: To create a Concept with multiple translations of the Preferred Label and/or of the Definition, repeat the entire Concept row and change only the Preferred Label, the Preferred Label Language Code and/or the Definition and the Definition Language Code. Alternate Labels = Any other names for this Concept. Separated by commas. If you want to use a comma as part of the Alternate Label, escape it with "\" like so "one\,two" Children URIs = A list of IRIs of children of this Concept, separated by commas. This creates a hierarchical relationship between the terms. In SKOS terminology, the Concept is broader than its Concept-Child and in turn the Concept-Child is narrower than the Concept. Note, broader/narrower are not transitive (see SKOS-primer linked in Introduction sheet). Provenance* = A note on the source of this Concept Home Vocabulary URI = If this Concept is imported from another vocabulary, this should be that vocabulary's URI.
Additional Concept Features (optional) The Additional Concept Features sheet allows to add more relations between concepts. These extra relations are adapted from the SKOS specification. Note: In this sheet you can also use CURIEs instead of full IRIs using the mappings defined in the prefix sheet. In all *-Matches columns multiple concept-IRIs (or CURIEs) can be entered as comma-seperated list. Concept IRI* = The concept IRI as defined in sheet Concepts. Related Matches = This cell asserts a related or associated relationship between the concepts listed. It's important to note that these concepts aren't close enough to be transitive. Close Matches = Mapping with this cell means the concepts are sufficiently similar that they can be used interchangeably. However, these concepts are not close enough to be transitive amongst each other. Exact Matches = This is a subset of a close match. Concepts are to be added if they are similar enough to be used interchangeably but have an even higher degree of closeness that includes transitivity. e.g. if example 1 is an exact match of example 2, and example 2 is an exact match of example 3, it follows example 1 is an exact match of example 3. Broader Matches = Broader match allows the user to assert that a concept is broader in meaning to another concept. e.g. a strawberry has a broader concept of fruit. This is the inverse of a narrower property. Narrower Matches = Narrower match allows the user to assert a concept is narrower in meaning to another concept. e.g. fruit has a narrower concept of strawberries. This is the inverse of a broader property. Note on Broader/Narrower: In sheet "Concepts" broader/narrower is expressed via "Children URIs" or as indentation. The broader/narrover columns in this sheet should be used to express broader/narrower relations with external concepts.
Collections (optional) Collections are an easy way to group together concepts for various purposes. If rows are added to the sheet, all cells must be filled out. Preferred Label = A simple one-line title for the Collection. Definition = The defining description of this Collection that may be longer and include line-breaks. Member IRIs = A comma-separated list of the Concept IRIS of all Concepts belonging to this collection. Provenance = A note on the source of this Collection
Prefix Sheet This sheet is for defining a mapping between short pefixes and namespaces which are the basis for using "compact URI" also called "CURIE". For more on compact URIs, see https://www.w3.org/TR/2010/NOTE-curie-20101216/ Example: http://example.org/1, http://example.org/2, http://example.org/3. Instead of manually typing out said examples, you can add in the Prefix Sheet a "ex" as Prefix, and "http://example.org/" as the coresponding namespace. Then instead of writing the whole IRI, it is possible to write "ex:1, ex:2, ex:3". Note: In the Prefix Sheet the Prefix must be entered without a colon at the end. Only when the prefix is used in CURIE a colon is used to seperate the prefix from the suffix-part of the IRI.
Finally... After completing this sheet, you can process it locally with the voc4cat command line tool. To get more information about how to install and use it, visit https://github.com/nfdi4cat/voc4cat-tool/. Alteratively you may want to submit the xlsx file as a pull request to a voc4cat-enabled repository such as
|  | voc4cat-playground (just for testing) | https://github.com/nfdi4cat/voc4cat-playground/
|  | voc4cat (Vocabularies for Catalysis) | https://github.com/nfdi4cat/voc4cat/

## Concept Scheme
Concept Scheme*
Vocabulary IRI* | https://w3id.org/nfdi4cat/voc4cat_ | IRI or CURI for this vocabulary | Required: URI or CURI
Title* | Voc4Cat - A SKOS vocabulary for Catalysis. | Title of the vocabulary | Required: Text
Description* | A vocabulary for all areas of catalysis initiated in NFDI4Cat. Starting with photocatalysis we add more and more terms from other areas of catalysis and related disciplines like chemical enineering or material science. | General description of the vocabulary | Required: Text
Created Date* | 2023-06-29 | Date of creation | Required: Date
Modified Date* | 2023-06-29 | Date of last modification | Required: Date
Creator* | NFDI4Cat | An Organisation from the list of allowed organisations | Required: Text/Enum
Publisher* | NFDI4Cat | An Organisation from the list of allowed organisations | Required: Text/Enum
Version | v2023-06-29 | Version specifier for the vocabulary | Optional: Text
Provenance* | David Linke (orcid:0000-0002-5898-1820), Nikolaos G. Moustakas (orcid:0000-0002-6242-2167) | A note on the Vocabulary source | Required: Text
Custodian | David Linke (orcid:0000-0002-5898-1820), Nikolaos G. Moustakas (orcid:0000-0002-6242-2167) | Vocabulary Content Manager | Optional
Catalogue PID |  | Catalogue PID or DIO e.g. eCat ID | Optional

## Concepts
Concepts*
Concept IRI* | Preferred Label* | Pref. Label Language Code | Definition* | Def. Language Code | Alternate Labels | Children IRIs | Provenance* | Source Vocab URI
https://w3id.org/nfdi4cat/voc4cat_0000005 | metal oxide | en | A chemical compound formed by the reaction of a metal with oxygen. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000007 | Fermi level | en | The energy level in a semiconductor where the probability of finding an electron is 0.5. | en | EF |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000008 | crystallinity | en | The degree of a three-dimensional structural order of atoms which constitute the crystal lattice of a material. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000009 | pore size distribution | en | Pore size distribution refers to the range of pore sizes in a material. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000010 | bandgap energy | en | The energy difference between a semiconductor’s valence band top and conduction band bottom, which is required to excite an electron from the former to the latter. | en | energy bandgap; Eg |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000011 | valence band | en | The band of energy levels in a solid fully occupied by electrons at 0 K (273.15 °C). | en | VB |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000012 | conduction band | en | The energy band of electronic levels of partially or fully filled mobile electrons in a metal or a semiconductor. | en | CB |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000013 | specific surface area | en | Α measure of the total surface area of a material per unit mass or volume. | en | SSA |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000015 | doping | en | The introduction of foreign atoms into a semiconductor leading to the formation of new energy levels and charge concentrations. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000018 | powder mass | en | Mass of a powdered photocatalyst used for an experiment. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000021 | spray coating | en | A technique used to deposit uniform thin films onto a substrate by spraying a solution of the material onto the surface. | en | spray-coating |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000022 | doctor blading | en | A tape-casting method used to deposit thin films of a photocatalyst onto the surface of a substrate. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000023 | spin coating | en | A technique used to deposit uniform thin films onto a substrate (e.g., metal or glass) by spinning at high speeds a solution (paste) of the material onto the surface. | en | spin casting, spin-casting, spin-coating |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000026 | metallic substrate | en | A flat surface made of a metal (e.g., titanium, stainless steel) serving as a substrate for the deposition of a photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000028 | fluorine doped tin oxide coated glass | en | Transparent conductive metal oxide (fluorine doped tin oxide) that can be used in the fabrication of transparent electrodes for thin films. | en | FTO; FTO glass |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000029 | indium tin oxide coated glass | en | Transparent conductive metal oxide (indium tin oxide) that can be used in the fabrication of transparent electrodes for thin films. | en | ITO; ITO glass |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000030 | borosilicate glass | en | A resistant to thermal shock type of glass, composed mainly of silica and boron trioxide. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000031 | quartz glass | en | A type of pure silicon dioxide, highly crystalline glass that allows the transmission of light in the UV wavelength range. | en | quartz |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000032 | ceramic substrate | en | A surface made of a ceramic material (e.g., alumina) serving as a substrate for the deposition of a photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000034 | substrate width | en | The width of the substrate. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000035 | substrate depth | en | The depth of the substrate. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000036 | substrate thickness | en | The thickness of the substrate. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000037 | substrate area | en | The surface area of the substrate. | en | substrate surface area |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000039 | thin film mass | en | Mass of catalyst deposited onto the surface of a substrate. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000041 | thin film width | en | The width of the film of the deposited photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000042 | thin film thickness | en | The thickness of the film of the deposited photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000043 | thin film depth | en | The depth of the film of the deposited photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000044 | thin film area | en | The area of the substrate covered by the deposited photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000047 | literature collection | en | Filtering of literature research to include only the most relevant sources of information for the application / experiment / catalysts of interest. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000048 | literature organization | en | Addition and organization of relevant literature of interest using a citation management software (e.g., Mendeley, Zotero, EndNote etc.) allowing for easy access and categorization. | en | literature organization; organization of literature; citation management software |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000050 | synthesis duration | en | Duration of each synthesis step needed to synthesize the desired photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000051 | synthesis temperature | en | Temperature externally applied (if necessary) in any of the synthesis step. Higher temperature values can be observed if an exothermic reaction takes place during the synthesis. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000052 | synthesis pH | en | pH value in each of the synthesis steps | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000053 | synthesis pressure | en | Pressure applied (if necessary) in any of the synthesis step. Changes in the pressure may be observed if variations in the temperature of the reaction occur (e.g., exothermic reaction) | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000055 | gaseous environment in calcination | en | A gas flow under which the calcination step takes place (e,g,, Ar or synthetic air) | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000056 | gas flow rate in calcination | en | The flow of gas (usually in ml min-1) used in the calcination steps during synthesis | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000057 | calcination initial temperature | en | Initial temperature of the calcination step. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000058 | calcination final temperature | en | Final temperature of the calcination step. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000059 | calcination heating rate | en | Rate of increasing or decreasing the temperature during the calcination step. Usually mentioned in K min-1. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000060 | calcination dwelling time | en | Time (usually in h) for which a desired temperature is held. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000061 | synthesis equipment | en | Equipment used in each step of the synthesis of the photocatalysts. The equipment can incude (but not limited to): crucibles, pH meters, condensers, volumetric cylinders, centrifuges, test tubes, flasks, beakers, mechanical shakers, pipettes, syringes, magenetic stirrers, heating plates, fitlers, funnels and digital balances. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000063 | mass of chemical substance for synthesis | en | Mass of chemicals used for synthesis | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000064 | volume chemical substance for synthesis | en | Volume of chemicals used for synthesis | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000065 | concentration chemical substance for synthesis | en | Concentration of chemicals used for synthesis | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000085 | ground state | en | Τhe lowest energy state of a system. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000086 | excited state | en | Τhe temporary state of a system with higher energy than its ground state caused by an external factor. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000088 | photoinduced electron transfer | en | The transfer of an electron initiated by the absorption of a photon of sufficient energy. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000089 | photoinduced hole transfer | en | The transfer of a hole initiated by the absorption of a photon of sufficient energy. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000090 | photoinduced charge generation | en | The generation of electron - hole pairs in a semiconductor as a result of light absorption of sufficient energy to overcome the bandgap energy. Electrons (negative charge) get excited to the conduction band, while holes (positive charge) remain in the valence band. | en | charge photogeneration; photogenerated charges; charge photo-generation; electron excitation; electron-hole pair; |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000091 | charge recombination | en | The process by which photogenerated charges (electrons and holes) in a semiconductor recombine, resulting in the dissipation of energy in the form of e.g., heat or light. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000092 | absorption | en | Absorption is the process in which energy (e.g., photons) or an absorbent (e.g., a gas) is taken up by an absorbate. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000093 | adsorption | en | The binding (strong or weak) of a pollutant or a reactant molecule on the surface of a photocatalyst which facilitates the performance of photocatalytic reactions. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000094 | desorption | en | The process under which reactants, intermediates and products are released from the surface of the photocatalyst. Desoprtion can be faciliated by an increase in temparature or a change in the pH. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000095 | charge separation | en | The process of separating positive and negative charges in a semiconductor, typically as a result of an external force, (e.g., photoexcitation). | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000096 | photoexcitation | en | The state caused by the transition of electrons from the valence band top to the conduction band bottom by absorption of photons of sufficient energy. | en | photo-excitation |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000097 | oxidation | en | The loss of electrons or an increase in the oxidation state of a species. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000099 | photocatalytic CO2 reduction | en | The light-driven reduction (conversion) of carbon dioxide (CO2) to hydrocarbons and / or platform chemicals in presence of water. The absorption of light and the adsorption of the reactants is performed by a photocatalyst (usually a metal oxide). | en | photocatalytic carbon dioxide reduction; CO2 photoreduction; carbon dioxide photoreduction; artificial photosynthesis |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000102 | reactant concentration | en | Concentration of the reactants (e.g., CO2 and H2O) used in the photocatalytic CO2 reduction experiments | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000103 | reactant purity | en | Purity of reactants (e.g., CO2, H2O, He) used in the photocatalytic CO2 reduction experiments. Purity is measure of the impurities contained in the reactants' supply. The highest purity reactants should be used to ensure the collection of reliable results. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000104 | reactant flow rate | en | The rate of flow of reactants (often in ml per min) in the photoreactor. Flow rates are usually controlled by mass flow controllers (MFCs) | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000106 | sacrificial acceptor | en | A molecule that accepts electrons from photoexcited species in a redox reaction and is subsequently consumed or degraded. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000107 | sacrificial donor | en | A molecule that donates electrons from photoexcited species in a redox reaction and is subsequently consumed or degraded. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000109 | flow mode | en | Under flow conditions, a continuous flow of reactants is supplied to the reaction chamber and the formed products are removed and identified by an appropriate technique. | en | continuous flow mode, continuous-flow mode, flow-mode |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000110 | batch mode | en | Operation mode in which the reaction chamber is filled with the (reactant) gas(es) up to a certain pressure, and the photoreaction products acummulate over time. | en | batch-mode |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000112 | purging duration | en | Time for which a gas is purged through the reaction chamber. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000113 | sampling interval | en | The time in between the collection of two data points. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000114 | irradiation duration | en | The total duration in which the photocatalyst was under irradiation by the selected light source. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000116 | experiment initial temperature | en | The temperature at the initiaton of the experiment. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000117 | experiment final temperature | en | The temperature at the end of the experiment. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000119 | experiment initial pressure | en | The pressure at the initiaton of the experiment or before a sampling event. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000120 | experiment final pressure | en | The pressure at the end of the experiment or after a sampling event. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000121 | experiment pressure drop | en | The pressure drop occuring when collecting a gaseous sample for the reaction chamber. This pressure drop should be taken into consideration when caluclation the concentration of formed products. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000122 | sample pre-treatment | en | Pretreatment of the photocatalyst before its intoduction to the reaction chamber. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000123 | blank experiment | en | Measurements performed to ensure that the studied photocatalytic reaction occurs because of the interaction of the photocatalyst with the reactants, and not from the environment or the photoreactor. Such blank experiment incude experiments under dark conditions, experiments with light but without a photocatalyst and experiments under light in the presence of the photocatalyst but without the targeted reactants. | en | control experiment |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000125 | selectivity | en | In photocatalytic processes where product formation is expected, selectivity describes the ability of a photocatalyst to produce only the desired product with minimal (or none) of byproducts. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000126 | apparent quantum yield | en | A measure of the efficiency of a photocatalytic reaction. It is expressed as the number of consumed charge carriers divided by the number of incident photons. | en | AQY, AQY%, apparent photonic yield |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000127 | product concentration | en | The concentration (usually in ppm or mol) of the products formed during a photocatalytic reaction. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000132 | flame ionization detector | en | A type of gas chromatography detector that detects and quantifies the concentration of organic compounds in a gas sample emerging from a column, by measuring the electrical current generated by ionized gas constituents in a hydrogen flame. | en | FID |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000133 | thermal conductivity detector | en | A type of gas chromatography detector that measures the thermal conductivity of a gas sample and identifies its constituent molecules through changes in a filament’s temperature. | en | TCD |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000134 | dielectric-barrier discharge ionization detector | en | Detector incorporating Ionization via a new dielectric barrier discharge He plasma. | en | BID |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000135 | gas chromatograph sensitivity | en | The minimum concentration of a product or intermediate that the gas chromatograph can identify. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000136 | gas chromatograph calibration | en | A process in which gaseous substances of known purity and concentration are introduced to the gas chromatograph and the respective area and retention time of the resulting peaks are identified. This process when concluded, allows for the calculation of concentrations of products and intermediates of the photoreaction. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000138 | mass spectrometer detector | en | Detectors of the mass spectrometer used to identify the reaction products and intemediates. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000139 | mass spectrometer sensitivity | en | The minimum concentration of a product or intermediate that the mass spectrometer can identify. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000140 | mass spectrometer calibration | en | A process in which gaseous substances of known purity and concentration are introduced to the mass spectrometer and the respective mass-to-charge ratios are identified. This process when concluded, allows for the calculation of concentrations of products and intermediates of the photoreaction. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000144 | maximum operation pressure | en | Maximum of operation pressure range within the reactor can operate safely. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000145 | minimum operation pressure | en | Minimum of operation pressure range within the reactor can operate safely. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000147 | vacuum pump | en | Α mechanical device that removes gas molecules from a sealed chamber reaching pressures lower than the atmospheric pressure. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000149 | maximum operation temperature | en | Maximum of operation temperature range within the reactor can operate safely. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000150 | minimum operation temperature | en | Minimum of operation temperature range within the reactor can operate safely. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000151 | temperature controller and monitor | en | Equipment used for controlling and/or monitoring the temperature in various parts of a photoreactor. This can include hot plates, heating elements and cryostats. Light sources in operation can also affect the temperature in the reaction chamber. | en | temperature controller; temperature gauge; temperature monitor; heating device; cooling device |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000153 | reaction chamber volume | en | Volume of the reaction chamber, calculated by its dimensions. Volume of pipes and valves connected to the reaction chamber should also be calculated and added to the total volume. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000154 | reaction chamber dimension | en | Height, width and depth (in cubic- or rectangular- shaped reaction chambers) or diameter and height (in cylindrer - shaped reaction chambers) | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000155 | reaction chamber shape | en | The shape of the reaction chamber. In gas-phase reactions, reaction chambers have usually a cylindrical, cubical or rectangular shape. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000156 | reaction chamber material | en | Material used for the construction of the main body of the reaction chamber. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000158 | optical window material | en | Material that the window is made of. The window, usually attached to the lid sealing the reaction chamber, allows for the incoming light to enter the reaction chamber and interact with the photocatalyst. The material of the window influences the wavelenth range the the photocatalyst experieneces. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000160 | optical window diameter | en | Diameter of the optical window allowing the incoming light to enter the reaction chamber and interact with the photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000161 | optical window thickness | en | Thickness of the optical window allowing the incoming light to enter the reaction chamber and interact with the photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000164 | mass flow controller | en | Devices used to control and monitor gas or liquid flow rates. | en | MFC, MFCs |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000167 | mercury-xenon lamp | en | A lamp containg a mixture of mercury (Hg) and xenon (Xe) gases. Under electric current, the gas mixture gets ionized through a discharge electric charge creating a plasma generating UV and visible light. | en | Hg-Xe lamp, Hg/Xe lamp, mercury xenon lamp |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000168 | xenon lamp | en | A lamp containg pure xenon (Xe) gas. Under electric current, the gas mixture gets ionized through a discharge electric charge creating a plasma generating UV and visible light. | en | Xe lamp, Xe-lamp |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000169 | light emitting diode | en | A solid-state semiconductor emitting light at highly controllable (narrow) wavelength ranges. | en | LED, light-emitting diode |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000171 | light source distance | en | The distance of the light source from the reaction chamber and the photocatalyst. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000172 | light operation current | en | The value of current (usually in A or mA) used to operate the selected light source. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000173 | light operation voltage | en | The value of voltage (usually in V or mV) used to operate the selected light source. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000174 | light power output | en | The power of the light source (usually in W or mW). The power can be calculated by the multiplication of the current and voltage used to operate the light source, | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000175 | light intensity | en | The light intensity (usually in mW cm-2) of the selected light source. The light intensity should be measured at the same distance as the one between the light source and the reaction chamber / sample. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000177 | infrared | en | Electromagnetic radiation with wavelengths typically in the range of 800 nm - 20000 nm. | en | IR; Ir |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000178 | visible | en | Electromagnetic radiation with wavelengths visible to the human eye, typically in the range of 400-800 nm. | en | Vis; VIS |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000179 | ultraviolet | en | Electromagnetic radiation with a wavelength typically in the range of 100-400 nanometers. | en | UV, UV-A, UV-B, UV-C, VUV |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000004 | categories of semiconductors | en | Broad families of semiconduction materials (e.g., metal oxides) that can be used as photocatalysts in various applications. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000005 | self
https://w3id.org/nfdi4cat/voc4cat_0000014 | modification technique | en | Tecniques used to modify the properties of a photocatalyst, with the aim to increase its efficiency in a photocatalytic application. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000015 | Self
https://w3id.org/nfdi4cat/voc4cat_0000017 | powdered photocatalyst | en | A photocatalyst introduced to the reaction chamber in the form of a powder. Usually the powdered photocatalyst is spread inside a quartz / glass plate. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000018 | Self
https://w3id.org/nfdi4cat/voc4cat_0000067 | X-ray fluorescence | en | A non-destructive analytical technique which uses a high-energy X-ray source to expose a material and monitors the emitted characteristic fluorescent X-Rays. | en | X-ray emission spectrometry, X-ray fluorescence spectrometry; X-ray fluorescence spectroscopy, XES, XRES, XRF, XRF spectrometry, XRF spectroscopy |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000068 | electron energy loss spectroscopy | en | An analytical technique used to measure the energy loss of electrons passing through a sample. | en | EELS |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000069 | Raman spectroscopy | en | A spectroscopy technique studying the vibrational modes of molecules, by measuring the intensity and frequency of scattered by the sample of monochromatic light. | en | RAMAN, Raman, Raman scattering spectrometry, Raman spectrometry, raman scattering spectroscopy |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000070 | atomic force microscopy | en | A high-resolution imaging technique that measures the interaction between a sharp probe and the sample’s surface to create a three-dimensional image of the surface’s morphology. | en | AFM, SFM, atomic force imaging, atomic-force microscopy, scanning force microscopy |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000071 | differential scanning calorimetry | en | A thermal analysis technique which compares the heat flow in a sample and a reference material under controlled applied temperature profiles. | en | DSC, differential scanning calorimetric (DSC) analysis, differential scanning calorimetric analysis |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000072 | thermogravimetric analysis | en | A thermal analysis technique used to measure the change of a sample’s mass under the influence of controlled applied temperature profiles. | en | TG, TG analysis, TG measurements, TGA, thermal gravimetric analysis, thermo-gravimetric analysis, thermogravimetric (TG) analyses, thermogravimetric (TG) analysis |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000073 | nuclear magnetic resonance spectroscopy | en | A spectroscopic technique that uses a static magnetic field and radiofrequency radiation to measure the magnetic resonance of atomic nuclei protons or electrons. | en | NMR |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000074 | photoluminescence | en | Light emission of lower energy photons from a sample upon its photoexcitation. | en | PL |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000075 | scanning electron microscopy | en | An electron microscopy technique that produces high-resolution images under high magnification of a sample's surface by assessing the secondary and back-scattered electrons produced by a focused electron beam. | en | SEM |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000076 | X-ray photoelectron spectroscopy | en | A technique that analyzes the chemical composition of an X-ray irradiated sample by measuring the energies of the emitted electrons. | en | XPS |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000077 | X-ray diffraction | en | A technique which analyses the diffraction pattern produced when X-rays are scattered by a sample bombarded by a focused electron beam. | en | X-ray analysis, X-ray crystallographic analysis, X-ray crystallography, X-ray diffraction analysis, X-ray diffractometry, X-ray structure determination, XRD |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000078 | transmission electron microscopy | en | Transmission electron microscopy is a technique that produces high-resolution images if the internal structure of a sample by using a beam of electrons to bombard the thin sample and measuring the intensity of the scattered transmitted electrons. | en | TEM |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000079 | ultraviolet-visible spectroscopy | en | A technique used to measure the absorption, transmission or reflectance of light by a sample in the ultraviolet and visible regions of the electromagnetic spectrum. | en | UV-Vis |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000080 | fourier transform infrared spectroscopy | en | A spectroscopic technique used to study the vibrational modes of chemical bonds of a sample using infrared radiation. | en | FT-IR, FT-IR spectroscopy, FTIR, FTIR spectrometry, FTIR spectroscopy, Fourier transform infra-red absoprtion spectroscopy, Fourier transform infra-red spectrometry, Fourier transform infrared (FT-IR), Fourier transform infrared (FT-IR) spectroscopy, Fourier-transform infra-red absorption spectrometry, Fourier-transform infrared (FTIR) absorption spectroscopy |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000081 | Brunauer-Emmett-Teller surface area analysis | en | The study of physical adsorption of gas molecules on a solid surface for the calculation of the specific surface area of materials. | en | BET |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000082 | cyclic voltammetry | en | An electrochemical technique used to study the redox properties of a sample by measuring the current produced by an applied voltage sweep. | en | CV, cyclovoltammetry |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000083 | Mott-Schottky analysis | en | A method used in cyclic voltammetry to determine the charge carrier concentration and the flat-band potential of an electrochemical system by measuring the capacitance as a function of applied voltage. | en |  |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000098 | reduction | en | The gain of electrons or a decrease in the oxidation state of a species. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000099 | Self
https://w3id.org/nfdi4cat/voc4cat_0000141 | liquid chromatography | en | A sepation technique that uses a liquid mobile phase to separate the components of a mixture based on their interactions with a stationary phase and a mobile phase. | en | LC |  | Self
https://w3id.org/nfdi4cat/voc4cat_0000146 | pressure controller and monitor | en | Equipment used for controlling and / or monitoring the pressure in various parts of a photoreactor. A vaccum pump is a typical example of such equipment. | en | pressure controller; pressure gauge; pressure monitor | https://w3id.org/nfdi4cat/voc4cat_0000147 | Self
https://w3id.org/nfdi4cat/voc4cat_0000162 | gas feed | en | Flow rates of gases used in an experiment. Gases can have either the role of a reactant (e.g., CO2) or be inert (e.g., Ar, He). | en | gas flow | https://w3id.org/nfdi4cat/voc4cat_0000163 | Self
https://w3id.org/nfdi4cat/voc4cat_0000163 | gas flow controller and monitor | en | Equipment used for controlling and / or monitoring the flow of gases (reactant or inert) needed for a photocatalytic experiment. Mass flow controllers (MFCs) are commonly used to controll gas flows. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000164 | Self
https://w3id.org/nfdi4cat/voc4cat_0000016 | sample form | en | The form in which the photocatalyst is introduced to the reaction chamber. This can include e.g., powders, pellets or thin films deposited on a substrate. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000017, https://w3id.org/nfdi4cat/voc4cat_0000019 | Self
https://w3id.org/nfdi4cat/voc4cat_0000024 | substrate | en | The substate onto which a (powdered) photocatalyst is deposited. Such substrates incude glass surfaces (e.g., borosilicate glass or conductive glass like ITO and FTO), ceramic substrates (e.g., alumina) or metal substrates (e.g., Ti foils, stainless steel etc.) | en |  | https://w3id.org/nfdi4cat/voc4cat_0000025, https://w3id.org/nfdi4cat/voc4cat_0000033 | Self
https://w3id.org/nfdi4cat/voc4cat_0000038 | deposited sample | en | A thin film of the photocatalyst deposited on an appropiate for the application substrate. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000039, https://w3id.org/nfdi4cat/voc4cat_0000040 | Self
https://w3id.org/nfdi4cat/voc4cat_0000045 | synthesis | en | The process by which one or more chemical reactions are performed with the aim of converting a reactant or starting material into a product or multiple products. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000046, https://w3id.org/nfdi4cat/voc4cat_0000049 | Self
https://w3id.org/nfdi4cat/voc4cat_0000046 | literature research | en | Thorough search of available literature on the research topic of interest using online research platforms (e.g, Scopus, Google Scholar, Web of Science, Research Gate etc.) and / or libraries. Relevant literature can be found in the form of publications, books, abstracts and conference presentations. | en | publications; papers; manuscripts; | https://w3id.org/nfdi4cat/voc4cat_0000047, https://w3id.org/nfdi4cat/voc4cat_0000048 | Self
https://w3id.org/nfdi4cat/voc4cat_0000084 | electronic state | en | The energy state occupied by an electron in a photocatalyst. This state cab affect the electron's ability to participate in a photocatalytic reaction. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000085, https://w3id.org/nfdi4cat/voc4cat_0000086 | Self
https://w3id.org/nfdi4cat/voc4cat_0000105 | sacrificial reagant | en | Electron donors or hole scavengers used to reduce the recombination tendency of electrons and holes. Sacrificial reagents are used in photocatalysis to study an oxidation or reduction reaction seperately. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000106, https://w3id.org/nfdi4cat/voc4cat_0000107 | Self
https://w3id.org/nfdi4cat/voc4cat_0000108 | operation mode | en | Operation mode under the which the experiment takes place: batch of continuous flow mode. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000109, https://w3id.org/nfdi4cat/voc4cat_0000110 | Self
https://w3id.org/nfdi4cat/voc4cat_0000115 | experiment temperature | en | The temperature (range) under which the photocatalytic reaction takes place. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000116, https://w3id.org/nfdi4cat/voc4cat_0000117 | Self
https://w3id.org/nfdi4cat/voc4cat_0000118 | experiment pressure | en | The pressure (range) under which the photocatalytic reaction takes place. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000119, https://w3id.org/nfdi4cat/voc4cat_0000120 | Self
https://w3id.org/nfdi4cat/voc4cat_0000142 | operation parameters | en | The range of critical for the safe operation of the photoreactor parameters. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000143, https://w3id.org/nfdi4cat/voc4cat_0000148 | Self
https://w3id.org/nfdi4cat/voc4cat_0000157 | optical window | en | A transparent material optimized to allow the transmission of electromagnetic radiation with low reflectance and scattering. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000158, https://w3id.org/nfdi4cat/voc4cat_0000159 | Self
https://w3id.org/nfdi4cat/voc4cat_0000159 | optical window dimensions | en | The dimension of the optical window (diameter / thickness) allowing the incoming light to enter the reaction chamber and interact with the photocatalyst. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000160, https://w3id.org/nfdi4cat/voc4cat_0000161 | Self
https://w3id.org/nfdi4cat/voc4cat_0000165 | irradiation system | en | The irradiation system includes all the necessary equipment needed to perform a photocatalytic experiment. The system apart from the light source can include, filters, power units, lamp cooling devices etc. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000166, https://w3id.org/nfdi4cat/voc4cat_0000170 | Self
https://w3id.org/nfdi4cat/voc4cat_0000003 | semiconductor | en | A material with electrical conductivity between that of a conductor and an insulator. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000004, https://w3id.org/nfdi4cat/voc4cat_0000006, https://w3id.org/nfdi4cat/voc4cat_0000014 | Self
https://w3id.org/nfdi4cat/voc4cat_0000019 | thin film | en | A photocatalyst introduced to the reaction chamber in the form of a thin film. To form a thin film, a (powdered) photocatalyst is deposited on a substrate (e.g., glass or metal) using an appropriate deposition technique. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000020, https://w3id.org/nfdi4cat/voc4cat_0000024, https://w3id.org/nfdi4cat/voc4cat_0000038 | Self
https://w3id.org/nfdi4cat/voc4cat_0000020 | deposition technique | en | A technique used to deposit (immobilize) a (powdered) photocatalyst on a substate. These techniques indlude (but are not limited to): doctor blading, spin coating, spray coating, etc. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000021, https://w3id.org/nfdi4cat/voc4cat_0000022, https://w3id.org/nfdi4cat/voc4cat_0000023 | Self
https://w3id.org/nfdi4cat/voc4cat_0000025 | substrate material | en | The material that the substrate is made of. Common materials include: glass (conductive or not), ceramics and metal. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000026, https://w3id.org/nfdi4cat/voc4cat_0000027, https://w3id.org/nfdi4cat/voc4cat_0000032 | Self
https://w3id.org/nfdi4cat/voc4cat_0000062 | chemical substance for synthesis | en | Chemical substances used in the synthesis process of a desired photocatalyst. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000063, https://w3id.org/nfdi4cat/voc4cat_0000064, https://w3id.org/nfdi4cat/voc4cat_0000065 | Self
https://w3id.org/nfdi4cat/voc4cat_0000111 | experiment duration | en | The total duration of an experiment | en |  | https://w3id.org/nfdi4cat/voc4cat_0000112, https://w3id.org/nfdi4cat/voc4cat_0000113, https://w3id.org/nfdi4cat/voc4cat_0000114 | Self
https://w3id.org/nfdi4cat/voc4cat_0000124 | evaluation | en | Quantitative and qualitative evaluation of the outcome of a photocatalytic reaction (e.g., product formation from the photoreduction of CO2). The evaluation can lead to changes in the synthesis of the photocatalyst and / or selecting different experimental parameters. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000125, https://w3id.org/nfdi4cat/voc4cat_0000126, https://w3id.org/nfdi4cat/voc4cat_0000127 | Self
https://w3id.org/nfdi4cat/voc4cat_0000129 | product identification method | en | Spectroscopic or chromatographic methods used to qualitatively and quantitatively identify the products of the photoreaction. Such devices are usually attached to the photoreactor, or a sample is being trasfered to an identification method via another medium (e.g., gastight syringes). | en |  | https://w3id.org/nfdi4cat/voc4cat_0000130, https://w3id.org/nfdi4cat/voc4cat_0000137, https://w3id.org/nfdi4cat/voc4cat_0000141 | Self
https://w3id.org/nfdi4cat/voc4cat_0000131 | gas chromatograph detector | en | Detectors of the gas chromatogragh used to identify the reaction products and intemediates. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000132, https://w3id.org/nfdi4cat/voc4cat_0000133, https://w3id.org/nfdi4cat/voc4cat_0000134 | Self
https://w3id.org/nfdi4cat/voc4cat_0000143 | operation pressure | en | Maximum and minimum of operation pressure range within the reactor can operate safely. Higher operation temperatures can lead to higher pressure values. | en | range of operation pressure; operation pressure range; \Ppressure range | https://w3id.org/nfdi4cat/voc4cat_0000144, https://w3id.org/nfdi4cat/voc4cat_0000145, https://w3id.org/nfdi4cat/voc4cat_0000146 | Self
https://w3id.org/nfdi4cat/voc4cat_0000148 | operation temperature | en | Maximum and minimum of operation temperature range within the reactor can operate safely. | en | range of operation temperature; operation temperature range; temparature range | https://w3id.org/nfdi4cat/voc4cat_0000149, https://w3id.org/nfdi4cat/voc4cat_0000150, https://w3id.org/nfdi4cat/voc4cat_0000151 | Self
https://w3id.org/nfdi4cat/voc4cat_0000166 | light source | en | Light source used to irradiate a photocatalyst in a reaction chamber. These include sources with various intensities, powers and wavelength ranges, including Hg/Xe lamps, Xe lamps and LEDs. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000167, https://w3id.org/nfdi4cat/voc4cat_0000168, https://w3id.org/nfdi4cat/voc4cat_0000169 | Self
https://w3id.org/nfdi4cat/voc4cat_0000176 | light wavelength | en | The distance between two successive peaks or troughs in a wave. | en | λ | https://w3id.org/nfdi4cat/voc4cat_0000177, https://w3id.org/nfdi4cat/voc4cat_0000178, https://w3id.org/nfdi4cat/voc4cat_0000179 | Self
https://w3id.org/nfdi4cat/voc4cat_0000002 | photocatalyst | en | A material that absorbs photons (light) of appropriate energy and initiates or accelerates a photochemical reaction, while it regenerates itself after each reaction cycle. | en | photocatalytic material | https://w3id.org/nfdi4cat/voc4cat_0000003, https://w3id.org/nfdi4cat/voc4cat_0000016, https://w3id.org/nfdi4cat/voc4cat_0000045, https://w3id.org/nfdi4cat/voc4cat_0000066 | Self
https://w3id.org/nfdi4cat/voc4cat_0000027 | glass substrate | en | A flat surface made of glass serving as a substrate for the deposition of a photocatalyst. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000028, https://w3id.org/nfdi4cat/voc4cat_0000029, https://w3id.org/nfdi4cat/voc4cat_0000030, https://w3id.org/nfdi4cat/voc4cat_0000031 | Self
https://w3id.org/nfdi4cat/voc4cat_0000033 | substrate dimension | en | The diamensions of the substrate. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000034, https://w3id.org/nfdi4cat/voc4cat_0000035, https://w3id.org/nfdi4cat/voc4cat_0000036, https://w3id.org/nfdi4cat/voc4cat_0000037 | Self
https://w3id.org/nfdi4cat/voc4cat_0000040 | thin film dimension | en | The diamensions of the - deposited on the substrate - thin film | en |  | https://w3id.org/nfdi4cat/voc4cat_0000041, https://w3id.org/nfdi4cat/voc4cat_0000042, https://w3id.org/nfdi4cat/voc4cat_0000043, https://w3id.org/nfdi4cat/voc4cat_0000044 | Self
https://w3id.org/nfdi4cat/voc4cat_0000101 | reactant | en | The starting substances that undergo a chemical reaction to produce a desired product. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000102, https://w3id.org/nfdi4cat/voc4cat_0000103, https://w3id.org/nfdi4cat/voc4cat_0000104, https://w3id.org/nfdi4cat/voc4cat_0000105 | Self
https://w3id.org/nfdi4cat/voc4cat_0000130 | gas chromatography | en | An analytical technique that separates and analyzes the components of a gas mixture by passing it though a stationary phase. | en | GC | https://w3id.org/nfdi4cat/voc4cat_0000131, https://w3id.org/nfdi4cat/voc4cat_0000135, https://w3id.org/nfdi4cat/voc4cat_0000136 | Self
https://w3id.org/nfdi4cat/voc4cat_0000137 | mass spectrometry | en | An analytical technique which determines the mass-to-charge ratio of ions in a sample to give information about the composition of the sample. | en | MS | https://w3id.org/nfdi4cat/voc4cat_0000138, https://w3id.org/nfdi4cat/voc4cat_0000139, https://w3id.org/nfdi4cat/voc4cat_0000140 | Self
https://w3id.org/nfdi4cat/voc4cat_0000001 | photocatalysis | en | A process which catalyzes a chemical reaction through the absorption of sufficient light energy by a photocatalyst. | en | photocatalytic reaction | https://w3id.org/nfdi4cat/voc4cat_0000002, https://w3id.org/nfdi4cat/voc4cat_0000084, https://w3id.org/nfdi4cat/voc4cat_0000087, https://w3id.org/nfdi4cat/voc4cat_0000100, https://w3id.org/nfdi4cat/voc4cat_0000128 | Self
https://w3id.org/nfdi4cat/voc4cat_0000128 | photoreactor design | en | Details describing the construction, physical dimensions, and operation of the photoreactor used to perform a photocatalytic reaction. | en | reactor design; reactor engineering; photoreactor engineering | https://w3id.org/nfdi4cat/voc4cat_0000129, https://w3id.org/nfdi4cat/voc4cat_0000142, https://w3id.org/nfdi4cat/voc4cat_0000152, https://w3id.org/nfdi4cat/voc4cat_0000162, https://w3id.org/nfdi4cat/voc4cat_0000165 | Self
https://w3id.org/nfdi4cat/voc4cat_0000152 | reaction chamber | en | A construction inside of which the photocatalyst and the reactants coexist and the photoreaction takes place. | en | photoreaction chamber | https://w3id.org/nfdi4cat/voc4cat_0000153, https://w3id.org/nfdi4cat/voc4cat_0000154, https://w3id.org/nfdi4cat/voc4cat_0000155, https://w3id.org/nfdi4cat/voc4cat_0000156, https://w3id.org/nfdi4cat/voc4cat_0000157 | Self
https://w3id.org/nfdi4cat/voc4cat_0000054 | calcination step | en | Heat treatment to reach the desired final photocatalyst. The parameters of the heat treatment can vary between each calcination step. | en | heat treatment; heat-treatment; calcination | https://w3id.org/nfdi4cat/voc4cat_0000055, https://w3id.org/nfdi4cat/voc4cat_0000056, https://w3id.org/nfdi4cat/voc4cat_0000057, https://w3id.org/nfdi4cat/voc4cat_0000058, https://w3id.org/nfdi4cat/voc4cat_0000059, https://w3id.org/nfdi4cat/voc4cat_0000060 | self
https://w3id.org/nfdi4cat/voc4cat_0000170 | light source property | en | Specific of roperties of the light source dictaning its operation and its adequacy in the studied photocatalytic reaction. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000171, https://w3id.org/nfdi4cat/voc4cat_0000172, https://w3id.org/nfdi4cat/voc4cat_0000173, https://w3id.org/nfdi4cat/voc4cat_0000174, https://w3id.org/nfdi4cat/voc4cat_0000175, https://w3id.org/nfdi4cat/voc4cat_0000176 | Self
https://w3id.org/nfdi4cat/voc4cat_0000006 | semiconductor property | en | Characteristic properties of a semiconductor used in the field of photocatalysis. These properties determine its performance in the studied photocatalytic application. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000007, https://w3id.org/nfdi4cat/voc4cat_0000008, https://w3id.org/nfdi4cat/voc4cat_0000009, https://w3id.org/nfdi4cat/voc4cat_0000010, https://w3id.org/nfdi4cat/voc4cat_0000011, https://w3id.org/nfdi4cat/voc4cat_0000012, https://w3id.org/nfdi4cat/voc4cat_0000013 | Self
https://w3id.org/nfdi4cat/voc4cat_0000049 | synthesis procedure | en | Necessary steps needed to follow in order to reach the desired photocatalyst. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000050, https://w3id.org/nfdi4cat/voc4cat_0000051, https://w3id.org/nfdi4cat/voc4cat_0000052, https://w3id.org/nfdi4cat/voc4cat_0000053, https://w3id.org/nfdi4cat/voc4cat_0000054, https://w3id.org/nfdi4cat/voc4cat_0000061, https://w3id.org/nfdi4cat/voc4cat_0000062 | Self
https://w3id.org/nfdi4cat/voc4cat_0000100 | photocatalytic experiment | en | A lab-scale experiment performed to test the efficiency of a studied photocatalyst in a photocatalytic application (e.g., dye degradation, CO2 photoreduction e.t.c.). | en |  | https://w3id.org/nfdi4cat/voc4cat_0000101, https://w3id.org/nfdi4cat/voc4cat_0000108, https://w3id.org/nfdi4cat/voc4cat_0000111, https://w3id.org/nfdi4cat/voc4cat_0000115, https://w3id.org/nfdi4cat/voc4cat_0000118, https://w3id.org/nfdi4cat/voc4cat_0000121, https://w3id.org/nfdi4cat/voc4cat_0000122, https://w3id.org/nfdi4cat/voc4cat_0000123, https://w3id.org/nfdi4cat/voc4cat_0000124 | Self
https://w3id.org/nfdi4cat/voc4cat_0000087 | photocatalytic process | en | A multi-step process iniatiated by the absorption of photons by a photocatalyst. This process involves various sub-processes that include the photogeneration and transfer of electron and hole pairs. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000088, https://w3id.org/nfdi4cat/voc4cat_0000089, https://w3id.org/nfdi4cat/voc4cat_0000090, https://w3id.org/nfdi4cat/voc4cat_0000091, https://w3id.org/nfdi4cat/voc4cat_0000092, https://w3id.org/nfdi4cat/voc4cat_0000093, https://w3id.org/nfdi4cat/voc4cat_0000094, https://w3id.org/nfdi4cat/voc4cat_0000095, https://w3id.org/nfdi4cat/voc4cat_0000096, https://w3id.org/nfdi4cat/voc4cat_0000097, https://w3id.org/nfdi4cat/voc4cat_0000098 | Self
https://w3id.org/nfdi4cat/voc4cat_0000066 | characterization | en | A collection of techniques used to identify the (physico)chemical, morphological, structural, mechanical, optical and electrical properties of the syntesized photocatalysts. Characterization is performed after the synthesis of the photocatalysts to evaluate the success of the synthetic approach, but also after the completion of the evaluation of the materials in CO2 photoreduction to ensure their stability under the selected experimental parameters. | en |  | https://w3id.org/nfdi4cat/voc4cat_0000067, https://w3id.org/nfdi4cat/voc4cat_0000068, https://w3id.org/nfdi4cat/voc4cat_0000069, https://w3id.org/nfdi4cat/voc4cat_0000070, https://w3id.org/nfdi4cat/voc4cat_0000071, https://w3id.org/nfdi4cat/voc4cat_0000072, https://w3id.org/nfdi4cat/voc4cat_0000073, https://w3id.org/nfdi4cat/voc4cat_0000074, https://w3id.org/nfdi4cat/voc4cat_0000075, https://w3id.org/nfdi4cat/voc4cat_0000076, https://w3id.org/nfdi4cat/voc4cat_0000077, https://w3id.org/nfdi4cat/voc4cat_0000078, https://w3id.org/nfdi4cat/voc4cat_0000079, https://w3id.org/nfdi4cat/voc4cat_0000080, https://w3id.org/nfdi4cat/voc4cat_0000081, https://w3id.org/nfdi4cat/voc4cat_0000082, https://w3id.org/nfdi4cat/voc4cat_0000083 | Self
Note on B2: Required - preferred label of the concept
Note on C2: Note you can only have one label per language.
Note on D2: An unambiguous description

## Additional Concept Features
Concept Relations
Concept IRI* | Related Matches | Close Matches | Exact Matches | Narrower Matches | Broader Matches
https://w3id.org/nfdi4cat/voc4cat_0000005
https://w3id.org/nfdi4cat/voc4cat_0000007
https://w3id.org/nfdi4cat/voc4cat_0000008
https://w3id.org/nfdi4cat/voc4cat_0000009
https://w3id.org/nfdi4cat/voc4cat_0000010
https://w3id.org/nfdi4cat/voc4cat_0000011
https://w3id.org/nfdi4cat/voc4cat_0000012
https://w3id.org/nfdi4cat/voc4cat_0000013
https://w3id.org/nfdi4cat/voc4cat_0000015
https://w3id.org/nfdi4cat/voc4cat_0000018
https://w3id.org/nfdi4cat/voc4cat_0000021
https://w3id.org/nfdi4cat/voc4cat_0000022
https://w3id.org/nfdi4cat/voc4cat_0000023
https://w3id.org/nfdi4cat/voc4cat_0000026
https://w3id.org/nfdi4cat/voc4cat_0000028
https://w3id.org/nfdi4cat/voc4cat_0000029
https://w3id.org/nfdi4cat/voc4cat_0000030
https://w3id.org/nfdi4cat/voc4cat_0000031
https://w3id.org/nfdi4cat/voc4cat_0000032
https://w3id.org/nfdi4cat/voc4cat_0000034
https://w3id.org/nfdi4cat/voc4cat_0000035
https://w3id.org/nfdi4cat/voc4cat_0000036
https://w3id.org/nfdi4cat/voc4cat_0000037
https://w3id.org/nfdi4cat/voc4cat_0000039
https://w3id.org/nfdi4cat/voc4cat_0000041
https://w3id.org/nfdi4cat/voc4cat_0000042
https://w3id.org/nfdi4cat/voc4cat_0000043
https://w3id.org/nfdi4cat/voc4cat_0000044
https://w3id.org/nfdi4cat/voc4cat_0000047
https://w3id.org/nfdi4cat/voc4cat_0000048
https://w3id.org/nfdi4cat/voc4cat_0000050
https://w3id.org/nfdi4cat/voc4cat_0000051
https://w3id.org/nfdi4cat/voc4cat_0000052
https://w3id.org/nfdi4cat/voc4cat_0000053
https://w3id.org/nfdi4cat/voc4cat_0000055
https://w3id.org/nfdi4cat/voc4cat_0000056
https://w3id.org/nfdi4cat/voc4cat_0000057
https://w3id.org/nfdi4cat/voc4cat_0000058
https://w3id.org/nfdi4cat/voc4cat_0000059
https://w3id.org/nfdi4cat/voc4cat_0000060
https://w3id.org/nfdi4cat/voc4cat_0000061
https://w3id.org/nfdi4cat/voc4cat_0000063
https://w3id.org/nfdi4cat/voc4cat_0000064
https://w3id.org/nfdi4cat/voc4cat_0000065
https://w3id.org/nfdi4cat/voc4cat_0000085
https://w3id.org/nfdi4cat/voc4cat_0000086
https://w3id.org/nfdi4cat/voc4cat_0000088
https://w3id.org/nfdi4cat/voc4cat_0000089
https://w3id.org/nfdi4cat/voc4cat_0000090
https://w3id.org/nfdi4cat/voc4cat_0000091
https://w3id.org/nfdi4cat/voc4cat_0000092
https://w3id.org/nfdi4cat/voc4cat_0000093
https://w3id.org/nfdi4cat/voc4cat_0000094
https://w3id.org/nfdi4cat/voc4cat_0000095
https://w3id.org/nfdi4cat/voc4cat_0000096
https://w3id.org/nfdi4cat/voc4cat_0000097
https://w3id.org/nfdi4cat/voc4cat_0000099
https://w3id.org/nfdi4cat/voc4cat_0000102
https://w3id.org/nfdi4cat/voc4cat_0000103
https://w3id.org/nfdi4cat/voc4cat_0000104
https://w3id.org/nfdi4cat/voc4cat_0000106
https://w3id.org/nfdi4cat/voc4cat_0000107
https://w3id.org/nfdi4cat/voc4cat_0000109
https://w3id.org/nfdi4cat/voc4cat_0000110
https://w3id.org/nfdi4cat/voc4cat_0000112
https://w3id.org/nfdi4cat/voc4cat_0000113
https://w3id.org/nfdi4cat/voc4cat_0000114
https://w3id.org/nfdi4cat/voc4cat_0000116
https://w3id.org/nfdi4cat/voc4cat_0000117
https://w3id.org/nfdi4cat/voc4cat_0000119
https://w3id.org/nfdi4cat/voc4cat_0000120
https://w3id.org/nfdi4cat/voc4cat_0000121
https://w3id.org/nfdi4cat/voc4cat_0000122
https://w3id.org/nfdi4cat/voc4cat_0000123
https://w3id.org/nfdi4cat/voc4cat_0000125
https://w3id.org/nfdi4cat/voc4cat_0000126
https://w3id.org/nfdi4cat/voc4cat_0000127
https://w3id.org/nfdi4cat/voc4cat_0000132
https://w3id.org/nfdi4cat/voc4cat_0000133
https://w3id.org/nfdi4cat/voc4cat_0000134
https://w3id.org/nfdi4cat/voc4cat_0000135
https://w3id.org/nfdi4cat/voc4cat_0000136
https://w3id.org/nfdi4cat/voc4cat_0000138
https://w3id.org/nfdi4cat/voc4cat_0000139
https://w3id.org/nfdi4cat/voc4cat_0000140
https://w3id.org/nfdi4cat/voc4cat_0000144
https://w3id.org/nfdi4cat/voc4cat_0000145
https://w3id.org/nfdi4cat/voc4cat_0000147
https://w3id.org/nfdi4cat/voc4cat_0000149
https://w3id.org/nfdi4cat/voc4cat_0000150
https://w3id.org/nfdi4cat/voc4cat_0000151
https://w3id.org/nfdi4cat/voc4cat_0000153
https://w3id.org/nfdi4cat/voc4cat_0000154
https://w3id.org/nfdi4cat/voc4cat_0000155
https://w3id.org/nfdi4cat/voc4cat_0000156
https://w3id.org/nfdi4cat/voc4cat_0000158
https://w3id.org/nfdi4cat/voc4cat_0000160
https://w3id.org/nfdi4cat/voc4cat_0000161
https://w3id.org/nfdi4cat/voc4cat_0000164
https://w3id.org/nfdi4cat/voc4cat_0000167
https://w3id.org/nfdi4cat/voc4cat_0000168
https://w3id.org/nfdi4cat/voc4cat_0000169
https://w3id.org/nfdi4cat/voc4cat_0000171
https://w3id.org/nfdi4cat/voc4cat_0000172
https://w3id.org/nfdi4cat/voc4cat_0000173
https://w3id.org/nfdi4cat/voc4cat_0000174
https://w3id.org/nfdi4cat/voc4cat_0000175
https://w3id.org/nfdi4cat/voc4cat_0000177
https://w3id.org/nfdi4cat/voc4cat_0000178
https://w3id.org/nfdi4cat/voc4cat_0000179
https://w3id.org/nfdi4cat/voc4cat_0000004
https://w3id.org/nfdi4cat/voc4cat_0000014
https://w3id.org/nfdi4cat/voc4cat_0000017
https://w3id.org/nfdi4cat/voc4cat_0000067
https://w3id.org/nfdi4cat/voc4cat_0000068
https://w3id.org/nfdi4cat/voc4cat_0000069
https://w3id.org/nfdi4cat/voc4cat_0000070
https://w3id.org/nfdi4cat/voc4cat_0000071
https://w3id.org/nfdi4cat/voc4cat_0000072
https://w3id.org/nfdi4cat/voc4cat_0000073
https://w3id.org/nfdi4cat/voc4cat_0000074
https://w3id.org/nfdi4cat/voc4cat_0000075
https://w3id.org/nfdi4cat/voc4cat_0000076
https://w3id.org/nfdi4cat/voc4cat_0000077
https://w3id.org/nfdi4cat/voc4cat_0000078
https://w3id.org/nfdi4cat/voc4cat_0000079
https://w3id.org/nfdi4cat/voc4cat_0000080
https://w3id.org/nfdi4cat/voc4cat_0000081
https://w3id.org/nfdi4cat/voc4cat_0000082
https://w3id.org/nfdi4cat/voc4cat_0000083
https://w3id.org/nfdi4cat/voc4cat_0000098
https://w3id.org/nfdi4cat/voc4cat_0000141
https://w3id.org/nfdi4cat/voc4cat_0000146
https://w3id.org/nfdi4cat/voc4cat_0000162
https://w3id.org/nfdi4cat/voc4cat_0000163
https://w3id.org/nfdi4cat/voc4cat_0000016
https://w3id.org/nfdi4cat/voc4cat_0000024
https://w3id.org/nfdi4cat/voc4cat_0000038
https://w3id.org/nfdi4cat/voc4cat_0000045
https://w3id.org/nfdi4cat/voc4cat_0000046
https://w3id.org/nfdi4cat/voc4cat_0000084
https://w3id.org/nfdi4cat/voc4cat_0000105
https://w3id.org/nfdi4cat/voc4cat_0000108
https://w3id.org/nfdi4cat/voc4cat_0000115
https://w3id.org/nfdi4cat/voc4cat_0000118
https://w3id.org/nfdi4cat/voc4cat_0000142
https://w3id.org/nfdi4cat/voc4cat_0000157
https://w3id.org/nfdi4cat/voc4cat_0000159
https://w3id.org/nfdi4cat/voc4cat_0000165
https://w3id.org/nfdi4cat/voc4cat_0000003
https://w3id.org/nfdi4cat/voc4cat_0000019
https://w3id.org/nfdi4cat/voc4cat_0000020
https://w3id.org/nfdi4cat/voc4cat_0000025
https://w3id.org/nfdi4cat/voc4cat_0000062
https://w3id.org/nfdi4cat/voc4cat_0000111
https://w3id.org/nfdi4cat/voc4cat_0000124
https://w3id.org/nfdi4cat/voc4cat_0000129
https://w3id.org/nfdi4cat/voc4cat_0000131
https://w3id.org/nfdi4cat/voc4cat_0000143
https://w3id.org/nfdi4cat/voc4cat_0000148
https://w3id.org/nfdi4cat/voc4cat_0000166
https://w3id.org/nfdi4cat/voc4cat_0000176
https://w3id.org/nfdi4cat/voc4cat_0000002
https://w3id.org/nfdi4cat/voc4cat_0000027
https://w3id.org/nfdi4cat/voc4cat_0000033
https://w3id.org/nfdi4cat/voc4cat_0000040
https://w3id.org/nfdi4cat/voc4cat_0000101
https://w3id.org/nfdi4cat/voc4cat_0000130
https://w3id.org/nfdi4cat/voc4cat_0000137
https://w3id.org/nfdi4cat/voc4cat_0000001
https://w3id.org/nfdi4cat/voc4cat_0000128
https://w3id.org/nfdi4cat/voc4cat_0000152
https://w3id.org/nfdi4cat/voc4cat_0000054
https://w3id.org/nfdi4cat/voc4cat_0000170
https://w3id.org/nfdi4cat/voc4cat_0000006
https://w3id.org/nfdi4cat/voc4cat_0000049
https://w3id.org/nfdi4cat/voc4cat_0000100
https://w3id.org/nfdi4cat/voc4cat_0000087
https://w3id.org/nfdi4cat/voc4cat_0000066

## Collections
Collections
Collection IRI | Preferred Label | Definition | Member IRIs | Provenance
https://w3id.org/nfdi4cat/voc4cat_0001900 | Characterization and evaluation techniques | A collection of concepts referring to material characterization techniques and methods to evaluate their efficiency in photocatalysis. | https://w3id.org/nfdi4cat/voc4cat_0000067, https://w3id.org/nfdi4cat/voc4cat_0000068, https://w3id.org/nfdi4cat/voc4cat_0000069, https://w3id.org/nfdi4cat/voc4cat_0000070, https://w3id.org/nfdi4cat/voc4cat_0000071, https://w3id.org/nfdi4cat/voc4cat_0000072, https://w3id.org/nfdi4cat/voc4cat_0000073, https://w3id.org/nfdi4cat/voc4cat_0000074, https://w3id.org/nfdi4cat/voc4cat_0000075, https://w3id.org/nfdi4cat/voc4cat_0000076, https://w3id.org/nfdi4cat/voc4cat_0000077, https://w3id.org/nfdi4cat/voc4cat_0000078, https://w3id.org/nfdi4cat/voc4cat_0000079, https://w3id.org/nfdi4cat/voc4cat_0000080, https://w3id.org/nfdi4cat/voc4cat_0000081, https://w3id.org/nfdi4cat/voc4cat_0000082, https://w3id.org/nfdi4cat/voc4cat_0000083, https://w3id.org/nfdi4cat/voc4cat_0000130, https://w3id.org/nfdi4cat/voc4cat_0000137, https://w3id.org/nfdi4cat/voc4cat_0000141 | Self
https://w3id.org/nfdi4cat/voc4cat_0001901 | Photocatalysis collection | A collection of concepts referring to photocatalysis. | https://w3id.org/nfdi4cat/voc4cat_00000001, https://w3id.org/nfdi4cat/voc4cat_00000002, https://w3id.org/nfdi4cat/voc4cat_00000003, https://w3id.org/nfdi4cat/voc4cat_00000004, https://w3id.org/nfdi4cat/voc4cat_00000005, https://w3id.org/nfdi4cat/voc4cat_00000006, https://w3id.org/nfdi4cat/voc4cat_00000007, https://w3id.org/nfdi4cat/voc4cat_00000008, https://w3id.org/nfdi4cat/voc4cat_00000009, https://w3id.org/nfdi4cat/voc4cat_00000010, https://w3id.org/nfdi4cat/voc4cat_00000011, https://w3id.org/nfdi4cat/voc4cat_00000012, https://w3id.org/nfdi4cat/voc4cat_00000013, https://w3id.org/nfdi4cat/voc4cat_00000014, https://w3id.org/nfdi4cat/voc4cat_00000015, https://w3id.org/nfdi4cat/voc4cat_00000016, https://w3id.org/nfdi4cat/voc4cat_00000017, https://w3id.org/nfdi4cat/voc4cat_00000018, https://w3id.org/nfdi4cat/voc4cat_00000019, https://w3id.org/nfdi4cat/voc4cat_00000020, https://w3id.org/nfdi4cat/voc4cat_00000021, https://w3id.org/nfdi4cat/voc4cat_00000022, https://w3id.org/nfdi4cat/voc4cat_00000023, https://w3id.org/nfdi4cat/voc4cat_00000024, https://w3id.org/nfdi4cat/voc4cat_00000025, https://w3id.org/nfdi4cat/voc4cat_00000026, https://w3id.org/nfdi4cat/voc4cat_00000027, https://w3id.org/nfdi4cat/voc4cat_00000028, https://w3id.org/nfdi4cat/voc4cat_00000029, https://w3id.org/nfdi4cat/voc4cat_00000030, https://w3id.org/nfdi4cat/voc4cat_00000031, https://w3id.org/nfdi4cat/voc4cat_00000032, https://w3id.org/nfdi4cat/voc4cat_00000033, https://w3id.org/nfdi4cat/voc4cat_00000034, https://w3id.org/nfdi4cat/voc4cat_00000035, https://w3id.org/nfdi4cat/voc4cat_00000036, https://w3id.org/nfdi4cat/voc4cat_00000037, https://w3id.org/nfdi4cat/voc4cat_00000038, https://w3id.org/nfdi4cat/voc4cat_00000039, https://w3id.org/nfdi4cat/voc4cat_00000040, https://w3id.org/nfdi4cat/voc4cat_00000041, https://w3id.org/nfdi4cat/voc4cat_00000042, https://w3id.org/nfdi4cat/voc4cat_00000043, https://w3id.org/nfdi4cat/voc4cat_00000044, https://w3id.org/nfdi4cat/voc4cat_00000045, https://w3id.org/nfdi4cat/voc4cat_00000046, https://w3id.org/nfdi4cat/voc4cat_00000047, https://w3id.org/nfdi4cat/voc4cat_00000048, https://w3id.org/nfdi4cat/voc4cat_00000049, https://w3id.org/nfdi4cat/voc4cat_00000050, https://w3id.org/nfdi4cat/voc4cat_00000051, https://w3id.org/nfdi4cat/voc4cat_00000052, https://w3id.org/nfdi4cat/voc4cat_00000053, https://w3id.org/nfdi4cat/voc4cat_00000054, https://w3id.org/nfdi4cat/voc4cat_00000055, https://w3id.org/nfdi4cat/voc4cat_00000056, https://w3id.org/nfdi4cat/voc4cat_00000057, https://w3id.org/nfdi4cat/voc4cat_00000058, https://w3id.org/nfdi4cat/voc4cat_00000059, https://w3id.org/nfdi4cat/voc4cat_00000060, https://w3id.org/nfdi4cat/voc4cat_00000061, https://w3id.org/nfdi4cat/voc4cat_00000062, https://w3id.org/nfdi4cat/voc4cat_00000063, https://w3id.org/nfdi4cat/voc4cat_00000064, https://w3id.org/nfdi4cat/voc4cat_00000065, https://w3id.org/nfdi4cat/voc4cat_00000066, https://w3id.org/nfdi4cat/voc4cat_00000067, https://w3id.org/nfdi4cat/voc4cat_00000068, https://w3id.org/nfdi4cat/voc4cat_00000069, https://w3id.org/nfdi4cat/voc4cat_00000070, https://w3id.org/nfdi4cat/voc4cat_00000071, https://w3id.org/nfdi4cat/voc4cat_00000072, https://w3id.org/nfdi4cat/voc4cat_00000073, https://w3id.org/nfdi4cat/voc4cat_00000074, https://w3id.org/nfdi4cat/voc4cat_00000075, https://w3id.org/nfdi4cat/voc4cat_00000076, https://w3id.org/nfdi4cat/voc4cat_00000077, https://w3id.org/nfdi4cat/voc4cat_00000078, https://w3id.org/nfdi4cat/voc4cat_00000079, https://w3id.org/nfdi4cat/voc4cat_00000080, https://w3id.org/nfdi4cat/voc4cat_00000081, https://w3id.org/nfdi4cat/voc4cat_00000082, https://w3id.org/nfdi4cat/voc4cat_00000083, https://w3id.org/nfdi4cat/voc4cat_00000084, https://w3id.org/nfdi4cat/voc4cat_00000085, https://w3id.org/nfdi4cat/voc4cat_00000086, https://w3id.org/nfdi4cat/voc4cat_00000087, https://w3id.org/nfdi4cat/voc4cat_00000088, https://w3id.org/nfdi4cat/voc4cat_00000089, https://w3id.org/nfdi4cat/voc4cat_00000090, https://w3id.org/nfdi4cat/voc4cat_00000091, https://w3id.org/nfdi4cat/voc4cat_00000092, https://w3id.org/nfdi4cat/voc4cat_00000093, https://w3id.org/nfdi4cat/voc4cat_00000094, https://w3id.org/nfdi4cat/voc4cat_00000095, https://w3id.org/nfdi4cat/voc4cat_00000096, https://w3id.org/nfdi4cat/voc4cat_00000097, https://w3id.org/nfdi4cat/voc4cat_00000098, https://w3id.org/nfdi4cat/voc4cat_00000099, https://w3id.org/nfdi4cat/voc4cat_00000100, https://w3id.org/nfdi4cat/voc4cat_00000101, https://w3id.org/nfdi4cat/voc4cat_00000102, https://w3id.org/nfdi4cat/voc4cat_00000103, https://w3id.org/nfdi4cat/voc4cat_00000104, https://w3id.org/nfdi4cat/voc4cat_00000105, https://w3id.org/nfdi4cat/voc4cat_00000106, https://w3id.org/nfdi4cat/voc4cat_00000107, https://w3id.org/nfdi4cat/voc4cat_00000108, https://w3id.org/nfdi4cat/voc4cat_00000109, https://w3id.org/nfdi4cat/voc4cat_00000110, https://w3id.org/nfdi4cat/voc4cat_00000111, https://w3id.org/nfdi4cat/voc4cat_00000112, https://w3id.org/nfdi4cat/voc4cat_00000113, https://w3id.org/nfdi4cat/voc4cat_00000114, https://w3id.org/nfdi4cat/voc4cat_00000115, https://w3id.org/nfdi4cat/voc4cat_00000116, https://w3id.org/nfdi4cat/voc4cat_00000117, https://w3id.org/nfdi4cat/voc4cat_00000118, https://w3id.org/nfdi4cat/voc4cat_00000119, https://w3id.org/nfdi4cat/voc4cat_00000120, https://w3id.org/nfdi4cat/voc4cat_00000121, https://w3id.org/nfdi4cat/voc4cat_00000122, https://w3id.org/nfdi4cat/voc4cat_00000123, https://w3id.org/nfdi4cat/voc4cat_00000124, https://w3id.org/nfdi4cat/voc4cat_00000125, https://w3id.org/nfdi4cat/voc4cat_00000126, https://w3id.org/nfdi4cat/voc4cat_00000127, https://w3id.org/nfdi4cat/voc4cat_00000128, https://w3id.org/nfdi4cat/voc4cat_00000129, https://w3id.org/nfdi4cat/voc4cat_00000130, https://w3id.org/nfdi4cat/voc4cat_00000131, https://w3id.org/nfdi4cat/voc4cat_00000132, https://w3id.org/nfdi4cat/voc4cat_00000133, https://w3id.org/nfdi4cat/voc4cat_00000134, https://w3id.org/nfdi4cat/voc4cat_00000135, https://w3id.org/nfdi4cat/voc4cat_00000136, https://w3id.org/nfdi4cat/voc4cat_00000137, https://w3id.org/nfdi4cat/voc4cat_00000138, https://w3id.org/nfdi4cat/voc4cat_00000139, https://w3id.org/nfdi4cat/voc4cat_00000140, https://w3id.org/nfdi4cat/voc4cat_00000141, https://w3id.org/nfdi4cat/voc4cat_00000142, https://w3id.org/nfdi4cat/voc4cat_00000143, https://w3id.org/nfdi4cat/voc4cat_00000144, https://w3id.org/nfdi4cat/voc4cat_00000145, https://w3id.org/nfdi4cat/voc4cat_00000146, https://w3id.org/nfdi4cat/voc4cat_00000147, https://w3id.org/nfdi4cat/voc4cat_00000148, https://w3id.org/nfdi4cat/voc4cat_00000149, https://w3id.org/nfdi4cat/voc4cat_00000150, https://w3id.org/nfdi4cat/voc4cat_00000151, https://w3id.org/nfdi4cat/voc4cat_00000152, https://w3id.org/nfdi4cat/voc4cat_00000153, https://w3id.org/nfdi4cat/voc4cat_00000154, https://w3id.org/nfdi4cat/voc4cat_00000155, https://w3id.org/nfdi4cat/voc4cat_00000156, https://w3id.org/nfdi4cat/voc4cat_00000157, https://w3id.org/nfdi4cat/voc4cat_00000158, https://w3id.org/nfdi4cat/voc4cat_00000159, https://w3id.org/nfdi4cat/voc4cat_00000160, https://w3id.org/nfdi4cat/voc4cat_00000161, https://w3id.org/nfdi4cat/voc4cat_00000162, https://w3id.org/nfdi4cat/voc4cat_00000163, https://w3id.org/nfdi4cat/voc4cat_00000164, https://w3id.org/nfdi4cat/voc4cat_00000165, https://w3id.org/nfdi4cat/voc4cat_00000166, https://w3id.org/nfdi4cat/voc4cat_00000167, https://w3id.org/nfdi4cat/voc4cat_00000168, https://w3id.org/nfdi4cat/voc4cat_00000169, https://w3id.org/nfdi4cat/voc4cat_00000170, https://w3id.org/nfdi4cat/voc4cat_00000171, https://w3id.org/nfdi4cat/voc4cat_00000172, https://w3id.org/nfdi4cat/voc4cat_00000173, https://w3id.org/nfdi4cat/voc4cat_00000174, https://w3id.org/nfdi4cat/voc4cat_00000175, https://w3id.org/nfdi4cat/voc4cat_00000176, https://w3id.org/nfdi4cat/voc4cat_00000177, https://w3id.org/nfdi4cat/voc4cat_00000178, https://w3id.org/nfdi4cat/voc4cat_00000179 | Self

## Prefix Sheet
Prefix | Namespace
ex | https://example.org/
new | https://example.org/new/
voc4cat | https://w3id.org/nfdi4cat/voc4cat_